IMPORTANT INFORMATION ABOUT YOUR DRINKING WATER
San Simon DWID Has Levels of Fluoride Above Drinking Water Standards
Our water system recently violated a drinking water standard. Although this is not an emergency, as our customers, you have a right to know what happened, what you should do, and what we did (are doing) to correct this situation.
Due to the recurring level of fluoride in our water system, we are required to monitor fluoride levels on a quarterly basis. The monitoring for the 4th quarter 2020 was missed.  The results of three samples in the 1st quarter, taken 01/26, 02/22, and 03/02/2021, show that our system continues to exceed the standard, or maximum contaminant level (MCL), for fluoride. The average level of fluoride in samples taken during the last year was x.xx mg/L. The standard for fluoride is that the average of samples taken over the last year may not exceed 4 mg/L [MCL].
What should I do?
•    Children under the age of nine should use an alternative source of water that is low in fluoride. In addition, you may want to consult your dentist about whether to avoid dental products containing fluoride. Adults and children over age nine should consult their dentist or doctor and show him/her this notice to determine if an alternate source of water low in fluoride should be used.
What does this mean?
This is not an emergency. If it had been, you would have been notified immediately. Some people who drink water containing fluoride in excess of the MCL over many years could get bone disease, including pain and tenderness of the bones. Fluoride in drinking water at half the MCL or greater may cause mottling of children's teeth, usually in children less than nine years old. Mottling, also known as dental fluorosis, may include brown staining and/or pitting of the and occurs only in developing teeth, before they erupt from the gums. Although it takes many years of exposure to fluoride for bone disease to develop, mottling can occur after a relatively short period of exposure.
What is being done?
We continue to work with ADEQ, WIFA, and RWAA to evaluate the water supply and research options to reduce fluoride level, along with possible funding sources. We anticipate resolving the problem as soon as possible.
We also have provided a water machine located at 1204 E 4th Street in San Simon for drinking water that has reverse osmosis to remove fluorine.  Tokens are available in our office free of charge to our customers.
For more information, please contact Chuck Fickett at 520-845-2451 or PO Box 14827, San Simon, AZ 85632.
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